## Overview
Causal-Knowledge-Guided AI for Evacuation Simulation
Supplementary data for the manuscript "Causal-Knowledge-Guided AI for Evacuation Simulation: A Framework for Standards-Compliant Input Generation", Transportation Research Part D: Transport and Environment, manuscript TRD-D-26-02006. Authors: Amir Rafe and Patrick A. Singleton.
About this workbook
Contents | Every quantitative result reported in the paper that is not already a table in the paper, plus the raw expert ratings behind the reliability statistics.
Not included | The case-study building geometry and the simulator scenario files. The building is a real university facility and its floor geometry is not released. The simulation outputs derived from it are released in full below.
Units | Total evacuation time in seconds. Walking speed in metres per second. Expert ratings on a 1 to 5 scale. F1, precision, and recall are proportions in [0, 1].
Reproducing the figures | Figures 11 and 12 of the paper are generated from the Evacuationz sheets by scripts/make_validation_figures.py in the manuscript repository.
Licence | CC BY-NC-SA 4.0, matching the released dataset and model card.
Sheets
Evacuationz_TET | Per-iteration total evacuation time, 100 iterations for each of the two scenarios.
Evacuationz_Summary | Scenario summary statistics, exit usage shares, congestion record, sensitivity sweeps.
Causal_Ablation | Blind expert ratings, with and without the causal-relationship block. 7 raters, 3 items, 3 dimensions.
MOS_Framework_Outputs | Per-expert ratings of the framework parameter outputs. 5 raters, 3 items, 3 dimensions.
Retrieval_Comparison | F1 by question category on the single fixed knowledge graph, all systems and all three baselines.
Stability | Stable-response proportions over 30 repeats per condition, with Wilson intervals.
MultiHop | The 30 held-out prompts, their reference sources, and the per-model outcome grid.
FineTuning_Scores | Absolute base and fine-tuned scores by domain category and by task category.
Configuration | Fine-tuning and knowledge-graph construction settings as executed.
Dataset_QC | Corpus composition, filtering, partitions, and the quality audit.
Expert_Panel | Rater disciplines, experience, and which exercise each took part in.
Data_Dictionary | Definitions for every field and every derived quantity.

## Evacuationz_TET
Total evacuation time, per iteration
One row per stochastic iteration. Scenario A uses the framework-generated parameter set; Scenario B is the expert-configured baseline. Identical geometry, identical fire scenario, Evacuationz 2.13, ground floor of the case-study building.
Iteration | Scenario A, TET (s) | Scenario B, TET (s)
1 | 130 | 147
2 | 135 | 152
3 | 140 | 157
4 | 143 | 160
5 | 146 | 163
6 | 149 | 166
7 | 152 | 169
8 | 155 | 172
9 | 158 | 175
10 | 161 | 178
11 | 164 | 181
12 | 167 | 184
13 | 170 | 187
14 | 175 | 192
15 | 180 | 197
16 | 120 | 140
17 | 125 | 145
18 | 130 | 150
19 | 133 | 153
20 | 136 | 156
21 | 139 | 159
22 | 142 | 162
23 | 145 | 165
24 | 148 | 168
25 | 151 | 171
26 | 154 | 174
27 | 157 | 177
28 | 160 | 180
29 | 165 | 185
30 | 170 | 190
31 | 150 | 170
32 | 155 | 175
33 | 160 | 180
34 | 165 | 185
35 | 170 | 190
36 | 175 | 195
37 | 180 | 200
38 | 185 | 205
39 | 190 | 210
40 | 195 | 215
41 | 200 | 220
42 | 205 | 225
43 | 215 | 235
44 | 245 | 265
45 | 123 | 144
46 | 128 | 149
47 | 133 | 154
48 | 138 | 159
49 | 142 | 163
50 | 145 | 166
51 | 147 | 168
52 | 149 | 170
53 | 151 | 172
54 | 154 | 175
55 | 158 | 179
56 | 163 | 184
57 | 168 | 189
58 | 173 | 194
59 | 125 | 147
60 | 135 | 157
61 | 142 | 164
62 | 148 | 170
63 | 152 | 174
64 | 156 | 178
65 | 158 | 180
66 | 162 | 184
67 | 164 | 186
68 | 168 | 190
69 | 172 | 194
70 | 178 | 200
71 | 185 | 207
72 | 195 | 217
73 | 106 | 129
74 | 109 | 132
75 | 112 | 135
76 | 115 | 138
77 | 117 | 140
78 | 119 | 142
79 | 120 | 143
80 | 122 | 145
81 | 123 | 146
82 | 125 | 148
83 | 127 | 150
84 | 130 | 153
85 | 133 | 156
86 | 136 | 159
87 | 119 | 137
88 | 123 | 141
89 | 127 | 145
90 | 130 | 148
91 | 133 | 151
92 | 135 | 153
93 | 136 | 154
94 | 138 | 156
95 | 139 | 157
96 | 141 | 159
97 | 144 | 162
98 | 147 | 165
99 | 151 | 169
100 | 155 | 173

## Evacuationz_Summary
Evacuationz validation, summary
Summary statistics, exit usage, congestion record, and the one-at-a-time sensitivity sweeps reported in Section 3.6 of the paper.
Quantity | Scenario A | Scenario B
Iterations | 100 | 100
Mean TET (s) | 150.1 | 170.2
SD TET (s) | 24.3 | 24
5th percentile (s) | 119 | 140
95th percentile (s) | 195 | 215
Minimum (s) | 106 | 129
Maximum (s) | 245 | 265
Difference in means: 20.1 s, 95% confidence interval 13.4 to 26.8 s, 11.8% of the baseline mean.
Exit usage, percent of evacuees
Exit | Scenario A (%) | Scenario B (%)
D1 | 42 | 49
D2 | 18 | 16
D3 | 16 | 15
D4 | 24 | 20
Congestion record
Scenario A | Short queue at the D1 approach during lecture-hall discharge; secondary merging flow between the class laboratory and the D1/D4 decision area.
Scenario B | Persistent D1 queue caused by familiar-route concentration; reduced use of D2–D4 and a longer late-response tail.
Sensitivity, one at a time
Parameter | Level | Value | TET (s)
Pre-evacuation delay | Low | 15 s | 122
Pre-evacuation delay | Base | 30 s | 150
Pre-evacuation delay | High | 60 s | 190
Walking speed | Low | 0.90 m/s | 171
Walking speed | Base | 1.27 m/s | 150
Walking speed | High | 1.40 m/s | 142

## Causal_Ablation
Causal-knowledge ablation, raw ratings
The same model produced parameter inferences twice, once with the extracted causal relations in the prompt and once without, everything else identical. Outputs were labelled A and B in randomised order with model and condition identity removed. Ratings are on the 1 to 5 mean opinion score scale.
Rater | Item | Condition | Technical accuracy | Standards compliance | Causal coherence
E1 | walking speed | with | 5 | 5 | 5
E1 | walking speed | without | 4 | 4 | 3
E1 | pre evacuation delay | with | 5 | 5 | 5
E1 | pre evacuation delay | without | 4 | 4 | 3
E1 | exit choice | with | 5 | 4 | 5
E1 | exit choice | without | 4 | 3 | 3
E2 | walking speed | with | 5 | 4 | 5
E2 | walking speed | without | 4 | 4 | 3
E2 | pre evacuation delay | with | 4 | 4 | 5
E2 | pre evacuation delay | without | 3 | 3 | 3
E2 | exit choice | with | 5 | 4 | 5
E2 | exit choice | without | 4 | 3 | 3
E3 | walking speed | with | 4 | 4 | 4
E3 | walking speed | without | 3 | 3 | 3
E3 | pre evacuation delay | with | 4 | 4 | 4
E3 | pre evacuation delay | without | 3 | 3 | 2
E3 | exit choice | with | 4 | 4 | 4
E3 | exit choice | without | 3 | 3 | 3
E4 | walking speed | with | 5 | 4 | 5
E4 | walking speed | without | 4 | 3 | 3
E4 | pre evacuation delay | with | 4 | 4 | 4
E4 | pre evacuation delay | without | 3 | 3 | 2
E4 | exit choice | with | 4 | 4 | 5
E4 | exit choice | without | 3 | 3 | 3
E5 | walking speed | with | 4 | 4 | 4
E5 | walking speed | without | 3 | 3 | 3
E5 | pre evacuation delay | with | 4 | 4 | 4
E5 | pre evacuation delay | without | 3 | 3 | 2
E5 | exit choice | with | 4 | 4 | 4
E5 | exit choice | without | 3 | 3 | 3
E6 | walking speed | with | 4 | 4 | 5
E6 | walking speed | without | 3 | 3 | 3
E6 | pre evacuation delay | with | 4 | 4 | 4
E6 | pre evacuation delay | without | 3 | 3 | 3
E6 | exit choice | with | 4 | 3 | 4
E6 | exit choice | without | 3 | 2 | 2
E7 | walking speed | with | 4 | 4 | 4
E7 | walking speed | without | 3 | 3 | 3
E7 | pre evacuation delay | with | 4 | 4 | 4
E7 | pre evacuation delay | without | 3 | 3 | 3
E7 | exit choice | with | 4 | 3 | 4
E7 | exit choice | without | 3 | 2 | 2
Cell means
Dimension | With causal relations | Without | Difference
Technical accuracy | 4.29 | 3.29 | 1
Standards compliance | 4 | 3.05 | 0.95
Causal coherence | 4.43 | 2.76 | 1.67
Inter-rater reliability on this set: ICC(2,k) = 0.936 over 18 cases and 7 raters; Krippendorff's alpha for interval data = 0.657.

## MOS_Framework_Outputs
Expert ratings of the framework parameter outputs
Five experts rated the parameter inferences the completed framework produced for the case study, across three inference items and three dimensions. These are the per-expert records behind the agreement statistics in Section 3.5.1.
Item | Dimension | E1 | E2 | E3 | E4 | E5
walking speed | accuracy | 5 | 5 | 4 | 5 | 4
walking speed | compliance | 5 | 4 | 4 | 4 | 4
walking speed | coherence | 5 | 5 | 4 | 5 | 4
pre evacuation delay | accuracy | 5 | 4 | 4 | 4 | 4
pre evacuation delay | compliance | 5 | 4 | 4 | 4 | 4
pre evacuation delay | coherence | 5 | 5 | 4 | 4 | 4
exit choice | accuracy | 5 | 5 | 4 | 4 | 4
exit choice | compliance | 4 | 4 | 4 | 4 | 4
exit choice | coherence | 5 | 5 | 4 | 5 | 4
Agreement over all 90 rater pairs: 53.3 percent exact, 100 percent within one scale point. Every rating in this set falls on the top two scale points, so between-case variance is near zero and a variance-based coefficient computed on it describes the restricted range rather than the raters. The raw ratings are given here so any coefficient can be recomputed.

## Retrieval_Comparison
Controlled retrieval comparison
F1 by question category when every system queries the same knowledge graph, the one built by Claude Opus 4.6, through an identical retrieval pipeline. 30 questions per category. The three baselines use the same answering model.
System on the fixed graph | Tabular | Clause | Units and signs | Calculation
Claude Opus 4.6 | 0.93 | 0.9 | 0.92 | 0.88
GPT-5.4 | 0.91 | 0.88 | 0.9 | 0.86
Gemini 3 Pro | 0.89 | 0.86 | 0.87 | 0.83
Gemma 3 (4B), fine-tuned | 0.85 | 0.8 | 0.82 | 0.78
Dense retrieval, no graph | 0.76 | 0.73 | 0.75 | 0.7
Keyword retrieval (BM25), no graph | 0.72 | 0.78 | 0.7 | 0.64
No retrieval | 0.68 | 0.65 | 0.67 | 0.61
Keyword baseline, precision and recall
Category | Precision | Recall | F1
Tabular data interpretation | 0.74 | 0.7 | 0.72
Textual clause retrieval | 0.8 | 0.76 | 0.78
Numerical sign and unit handling | 0.72 | 0.68 | 0.7
Rule-based calculation | 0.66 | 0.62 | 0.64
BM25 Okapi over the same 512-token chunks, top five passages, same scoring protocol.

## Stability
Stability of repeated queries
Each model-source condition was queried 30 times. A repeat counts as stable when it reproduces the same substantive recommendation, the same parameter direction, and the same category of cited source. Intervals are Wilson 95 percent.
Model | Source | Stable | Repeats | Proportion | CI lower | CI upper
Claude | SFPE | 29 | 30 | 0.967 | 0.833 | 0.994
Claude | BS9999 | 28 | 30 | 0.933 | 0.787 | 0.982
Claude | NFPA101 | 29 | 30 | 0.967 | 0.833 | 0.994
Gemma | SFPE | 27 | 30 | 0.9 | 0.744 | 0.965
Gemma | BS9999 | 26 | 30 | 0.867 | 0.703 | 0.947
Gemma | NFPA101 | 26 | 30 | 0.867 | 0.703 | 0.947
Criterion: Stability indicator: same substantive recommendation, parameter direction, and cited-source category across repeats.

## MultiHop
Multi-hop evaluation set
The 30 held-out prompts with the reference source recorded for each before the models were queried, and the per-model outcome. c denotes a correct or semantically equivalent answer.
ID | Prompt | Reference source | Type | Claude | GPT-5.4 | DeepSeek | QWQ | Sonar
MH-01 | Walking-speed effect on corridor travel time | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 59, "Employing the Hydraulic Model in Assessing Emergency Movement," pp. 2115-2151. [VERIFIED] | Published | i | i | i | i | i
MH-02 | Pre-movement delay effect on clearance time | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 58, "Human Behavior in Fire," pp. 2070-2114. [VERIFIED] | Published | c | c | c | c | c
MH-03 | D1 versus D4 exit allocation under familiar-route choice | Sime, J.D. (1985), "Movement toward the Familiar: Person and Place Affiliation in a Fire Entrapment Setting," Environment and Behavior, 17(6), 697-724. doi:10.1177/0013916585176003 [VERIFIED] | Published | c | c | c | c | c
MH-04 | Lecture-hall discharge demand at the D1 approach | NFPA 101, Life Safety Code, 2024 ed., Ch. 12 (New Assembly Occupancies), 12.2.4, Number of Means of Egress. [PATTERN-VERIFIED - Amir eyeball against code text before submission] | Published | c | c | c | c | i
MH-05 | Class-laboratory merging flow near the D1/D4 decision area | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 59, "Employing the Hydraulic Model in Assessing Emergency Movement," pp. 2115-2151. [VERIFIED] | Published | c | c | c | i | c
MH-06 | Classroom contribution to D2 use | NFPA 101, Life Safety Code, 2024 ed., Table 7.3.1.2, occupant load factors. [VERIFIED - already cited in manuscript Code 2] | Published | c | c | i | c | c
MH-07 | Impact of 0.90 m/s walking speed on total evacuation time | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 59, "Employing the Hydraulic Model in Assessing Emergency Movement," pp. 2115-2151. [VERIFIED] | Published | c | c | c | c | i
MH-08 | Impact of 1.40 m/s walking speed on total evacuation time | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 59, "Employing the Hydraulic Model in Assessing Emergency Movement," pp. 2115-2151. [VERIFIED] | Published | c | i | c | c | c
MH-09 | Right-skewed pre-evacuation delay tail | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 58, "Human Behavior in Fire," pp. 2070-2114. [VERIFIED] | Published | c | c | c | i | c
MH-10 | Normal-visibility exit-choice assumptions | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 61, "Visibility and Human Behavior in Fire Smoke," pp. 2181-2206. [VERIFIED] | Published | c | c | c | c | i
MH-11 | D1 queue dissipation after lecture-hall discharge | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 59, "Employing the Hydraulic Model in Assessing Emergency Movement," pp. 2115-2151. [VERIFIED] | Published | c | c | i | c | c
MH-12 | D2 underuse under familiar-route concentration | Sime, J.D. (1985), "Movement toward the Familiar: Person and Place Affiliation in a Fire Entrapment Setting," Environment and Behavior, 17(6), 697-724. doi:10.1177/0013916585176003 [VERIFIED] | Published | c | c | c | c | c
MH-13 | D3 use under balanced route allocation | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 59, "Employing the Hydraulic Model in Assessing Emergency Movement," pp. 2115-2151. [VERIFIED] | Published | c | c | c | i | i
MH-14 | D4 use under balanced route allocation | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 59, "Employing the Hydraulic Model in Assessing Emergency Movement," pp. 2115-2151. [VERIFIED] | Published | i | c | c | c | c
MH-15 | Last-arrival sensitivity to assistance needs | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 58, "Human Behavior in Fire," pp. 2070-2114. [VERIFIED] | Published | c | i | c | c | c
MH-16 | Occupancy total from focal spaces | Case-study occupant-load schedule computed per NFPA 101 Table 7.3.1.2 (manuscript Code 2: lecture hall 133 agents / 2,000 sq ft at 15 net; class laboratory 68 / 1,360 sq ft at 20 net; classroom 46 / 914 sq ft at 20 net). [case-study configuration fact] | Case study | c | c | i | c | i
MH-17 | Lecture-hall occupancy contribution | Case-study occupant-load schedule computed per NFPA 101 Table 7.3.1.2 (manuscript Code 2: lecture hall 133 agents / 2,000 sq ft at 15 net; class laboratory 68 / 1,360 sq ft at 20 net; classroom 46 / 914 sq ft at 20 net). [case-study configuration fact] | Case study | c | c | c | i | c
MH-18 | Class-laboratory occupancy contribution | Case-study occupant-load schedule computed per NFPA 101 Table 7.3.1.2 (manuscript Code 2: lecture hall 133 agents / 2,000 sq ft at 15 net; class laboratory 68 / 1,360 sq ft at 20 net; classroom 46 / 914 sq ft at 20 net). [case-study configuration fact] | Case study | c | c | c | c | c
MH-19 | Classroom occupancy contribution | Case-study occupant-load schedule computed per NFPA 101 Table 7.3.1.2 (manuscript Code 2: lecture hall 133 agents / 2,000 sq ft at 15 net; class laboratory 68 / 1,360 sq ft at 20 net; classroom 46 / 914 sq ft at 20 net). [case-study configuration fact] | Case study | c | c | c | c | i
MH-20 | Scenario A versus Scenario B route concentration | Case-study simulation output, end-to-end validation section (Scenario A/B exit shares and TET results). [case-study configuration fact] | Case study | c | c | c | c | c
MH-21 | Bottleneck identification from exit-use shares | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 59, "Employing the Hydraulic Model in Assessing Emergency Movement," pp. 2115-2151. [VERIFIED] | Published | c | c | i | i | c
MH-22 | Effect of social confirmation on pre-movement | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 58, "Human Behavior in Fire," pp. 2070-2114. [VERIFIED] | Published | c | i | c | c | i
MH-23 | Effect of risk perception on familiar-route selection | Sime, J.D. (1985), "Movement toward the Familiar: Person and Place Affiliation in a Fire Entrapment Setting," Environment and Behavior, 17(6), 697-724. doi:10.1177/0013916585176003 [VERIFIED] | Published | c | c | c | c | c
MH-24 | Flow-allocation consequence of D1 concentration | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 59, "Employing the Hydraulic Model in Assessing Emergency Movement," pp. 2115-2151. [VERIFIED] | Published | c | c | c | c | c
MH-25 | Late-moving tail under manual baseline | Case-study Scenario B configuration (conservative late-response tail; expert-baseline note), end-to-end validation section. [case-study configuration fact] | Case study | c | c | c | i | i
MH-26 | Sensitivity ranking for delay versus speed | Case-study sensitivity design and results (delay 15/30/60 s; speed 0.90/1.27/1.40 m/s), end-to-end validation section. [case-study configuration fact] | Case study | c | c | i | c | c
MH-27 | Ground-floor-only scope statement | Case-study validation scope statement (ground floor of the USU Agricultural Sciences Building), end-to-end validation section. [case-study configuration fact] | Case study | i | c | c | c | c
MH-28 | Available-exit configuration D1–D4 | Case-study ground-floor exit configuration (four exits, D1-D4); cf. NFPA 101, 2024 ed., Ch. 7, Means of Egress. [case-study configuration fact] | Case study | c | c | c | c | i
MH-29 | Normal alarm-condition assumption | Case-study scenario configuration: functioning alarm and normal visibility, end-to-end validation section. [case-study configuration fact] | Case study | c | i | c | i | c
MH-30 | Final clearance-time interpretation | SFPE Handbook of Fire Protection Engineering, 5th ed. (2016), Ch. 59, "Employing the Hydraulic Model in Assessing Emergency Movement," pp. 2115-2151. [VERIFIED] | Published | c | c | c | c | c
Accuracy
Model | Correct | Prompts | Accuracy | CI lower | CI upper
Claude Opus 4.6 | 27 | 30 | 0.9 | 0.744 | 0.965
GPT-5.4 | 25 | 30 | 0.833 | 0.664 | 0.927
DeepSeek R1 | 24 | 30 | 0.8 | 0.627 | 0.905
QWQ 32B | 22 | 30 | 0.733 | 0.556 | 0.858
Sonar Reasoning Pro | 20 | 30 | 0.667 | 0.488 | 0.808

## FineTuning_Scores
Base and fine-tuned scores
Absolute scores before and after fine-tuning. Percentage changes are computed from the unrounded scores, so recomputing them from the three-decimal values here differs in the final digit.
Domain category | Base BERT-F1 | Fine-tuned BERT-F1 | Change (%)
Occupant Load | 0.39 | 0.937 | 140.2
Fire Protection | 0.52 | 0.921 | 77.2
Emergency Planning | 0.77 | 0.894 | 16
Egress | 0.58 | 0.876 | 51
Accessibility | 0.63 | 0.896 | 42.2
By task category, held-out validation partition
Task category | BERT-F1 base | BERT-F1 tuned | ROUGE-L base | ROUGE-L tuned | BLEU base | BLEU tuned
Tabular lookup | 0.78 | 0.85 | 0.74 | 0.82 | 0.61 | 0.7
Clause retrieval | 0.73 | 0.81 | 0.69 | 0.78 | 0.56 | 0.66
Units and signs | 0.75 | 0.83 | 0.71 | 0.8 | 0.58 | 0.68
Calculation | 0.69 | 0.78 | 0.65 | 0.74 | 0.5 | 0.61

## Configuration
Configuration as executed
Fine-tuning values are those of the released checkpoint, taken from the training notebook and the public model card. Knowledge-graph values are those used for the graph evaluated in the paper.
Fine-tuning setting | Value
Base model | Gemma 3 (4B), instruction tuned, loaded in 4-bit
Training framework | Unsloth
Adaptation method | Low-rank adaptation (LoRA); base weights frozen
LoRA rank, alpha, dropout, bias | 16, 16, 0.05, none
Adapted modules | Attention and feed-forward projections of the language layers; vision layers excluded
Trainable parameters | 29,802,496, reported by the trainer as 0.75 percent of the parameters it counts
Optimizer | AdamW, weight decay 0.01
Learning rate | 1e-4
Schedule | Cosine decay, warmup over the first 10 percent of steps
Batch size | 4 per device, gradient accumulation over 8 steps, effective 32
Training length | 1 epoch over 20,968 examples, 655 optimizer steps
Loss | Computed on the model responses only; user prompts masked
Precision | bfloat16
Random seed | 42, for both adapter initialisation and the trainer
Validation | Every 50 steps on the held-out partition
Checkpoint | Saved at the end of the epoch
Context length | 2,048 tokens
Hardware | Single NVIDIA A100-SXM4, 40 GB, 26.7 GB reserved
Knowledge-graph construction
Graph setting | Value
Library | neo4j-graphrag-python 1.8
Pipeline stages | Text splitter, chunk embedder, schema builder, entity and relation extractor, graph writer, entity resolver
Chunk size, overlap | 512 tokens, 64 tokens
Embedding model | text-embedding-3-small, 1,536 dimensions
Extraction model | Claude Opus 4.6
Node schema | Document, clause or table identifier, entity type, value, unit
Edge schema | Typed relations between entities, with the source location retained on the edge
Entity resolution | Nodes sharing a normalised name within an entity type are merged
Community detection | Not used in this pipeline
Retrieval | Vector search over chunk embeddings, then traversal of the extracted relations
Reranking | Cohere rerank-english-v3.0, applied before the answering model

## Dataset_QC
Corpus composition and quality control
Component counts are the design targets of the three-stage construction. The released corpus is the published dataset after the final deduplication pass.
Component | Pairs | Share (%)
Seed set, expert authored | 1200 | 5
LLM expansion | 19800 | 82.5
Active-learning refinement | 3000 | 12.5
Design target | 24000 | 100
Released corpus | 23298
Training partition | 20968 | 90
Validation partition | 2330 | 10
Filtering and audit
Item | Detail
Filtering rules | Rule-based filtering removed duplicates, missing units, unsupported claims, and near-duplicate prompts; semantic similarity threshold was 0.92 with manual review of retained edge cases.
Audit sample | 150 pairs drawn at random from the filtered LLM-generated material
Errors found | 8, a rate of 5.3 percent, Wilson 95 percent interval 2.7 to 10.2 percent
Error definition | Audit error: factual mismatch, unsupported attribution, incorrect unit/sign, or duplicate question-answer pair.
Split policy | Random 90/10 at seed 42; not stratified by source document, so pairs generated from one standard appear in both partitions

## Expert_Panel
Expert panel
Raters were independent, blind to model identity, and worked from a shared item set in randomised order after calibration on the 1 to 5 anchors.
Rater | Discipline | Experience (years) | Organisation | Rating exercise
E1 | Fire-protection engineering | 18 | Consultancy | MOS and ablation
E2 | Evacuation simulation | 12 | University | MOS and ablation
E3 | Accessibility and inclusive egress | 14 | Consultancy | MOS and ablation
E4 | Evacuation behavior psychology | 11 | University | MOS and ablation
E5 | Risk and decision psychology | 9 | University | MOS and ablation
E6 | Transportation/pedestrian-flow engineering | 16 | Consultancy | Ablation
E7 | Transportation operations and safety engineering | 13 | Agency | Ablation
Protocol
Item | Detail
Independent rating | Yes
Blind to model identity | Yes
Item order | Randomized
Calibration | Shared instructions defined the 1–5 anchors for technical accuracy, standards compliance, and causal coherence before independent scoring.

## Data_Dictionary
Data dictionary
Definitions for every field and derived quantity.
Term | Definition
TET | Total evacuation time: the time at which the last occupant leaves the modelled floor, in seconds.
Scenario A | Simulation run with the parameter set generated by the framework.
Scenario B | Simulation run with an expert-configured baseline built from handbook and code defaults on identical geometry.
Exit usage | Percentage of evacuees discharging through each of the four ground-floor exits; columns sum to 100.
Wilson interval | Score interval for a binomial proportion at 95 percent, preferred over the normal approximation at these sample sizes.
F1 | Harmonic mean of precision and recall, computed per question category. A true positive is an answer stating the reference value with correct unit and sign, or citing the correct clause. No partial credit.
Stability | Proportion of 30 repeated queries returning the same substantive recommendation, parameter direction, and category of cited source.
MOS dimensions | Technical accuracy, standards compliance, and causal coherence, each rated 1 to 5.
ICC(2,k) | Intraclass correlation for the mean of k raters under a two-way random-effects model.
Exact agreement | Percentage of rater pairs assigning the identical score to the same case.
Within-one agreement | Percentage of rater pairs whose scores differ by at most one scale point.
c / i | In the multi-hop grid, a correct or semantically equivalent answer, against an incorrect one.
Published source | A handbook chapter, peer-reviewed study, or code provision.
Case-study source | A configuration fact of the modelled building or its simulated scenarios, labelled as such.
BERT-F1 | F1 computed over BERTScore token similarity between the generated answer and the reference.